SLEEVE PE BLUE 40 X 20 CM

113-8257

CHARACTERISTICS:

Polyethylene (PE) film, commonly called PE, is made from a mixture of 65% Low Density Polyethylene (LDPE) and 35% Light Low Density Polyethylene (LLDPE). Poly-latex film is very lightweight and is a complex hydrocarbon chain. It is practically impervious; hence it is excellent for containing moisture and dirt. It also repels moisture and oil. PE is non-toxic and odourless. PE has excellent resistance to chemical corrosion and its physical properties and not affected by either chemical or solvents. Since it is a form of plastic material, it possesses excellent strength and it can be easily sealed. It is heavily textured for better grip.

PHYSICAL PROPERTIES

Size						Universal

Length (L)					40 +/- 1.5 cm

Width (Wrist)					20 +/- 2.5 cm

Width (Shoulder)					20 +/- 2.5 cm

Thickness					0.02mm +/- 0.002mm

Elongation 					100% - 250%

Colour 						Blue

PACKING:

10pcs/bundle, 10bundles/sealed bag, 10bags/case

QUALITY ASSURANCE CRITERIA:

Sleeves are guaranteed to meet 4.0 AQL level II sampling plan per MIL-std-150E for the following defect criteria:

1.	Broken elastic band				4.	Holes/tears in fabric material

2.	Irregular material					5.	Physical dimensions non-compliance

3.	Dirty						6. 	Not clean

Disclaimer: VWR wants to state that this declaration will not discharge the user from his obligation to ensure the product is suitable for the intended use. -  If there is any doubt ask us.

Date of issue: Feb 2020