ISOLATION GOWN 45G - 115X136 CM – PINK

113-8319

CHARACTERISTICS:

The disposable gown with back fastening is made of non woven breathable SMS fabric. Ideal for use in healthcare environments and hospitals.

•	Long sleeves, knitted cuffs

•	Round neck

•	Ties on neck and waist

PHYSICAL PROPERTIES

Material					Non-woven SMS 45grams/m2

Size					One size 115*136cm

Length:					115cm +/- 2cm

Width:					136cm +/- 2cm

Sleeve length:				57cm +/- 2cm

Pockets:					no pockets

Colour					Pink

Tensile Strength 				MD: >50N/5cm		CD: >38N/5cm

Ultimate Elongation			>30 %

PACKING:

1pcs/bag,50bags/carton

QUALITY ASSURANCE CRITERIA:

SMS gowns are guaranteed to meet 4.0 AQL level II sampling plan per MIL-std-150E for the following defect criteria:

1.	Foul odor						4.	Holes/tears in fabric material

2.	Irregular fabric material					caused by sewing machine

3.	Dirty fabric material					5.	Physical dimensions non-compliance

Disclaimer: VWR wants to state that this declaration will not discharge the user from his obligation to ensure the product is suitable for the intended use. -  If there is any doubt ask us.

Date of issue: Feb 2020