| OPTICAL TUBE INFO: |  |
| --- | --- |
| Optical Design | Refractor |
| Aperture | 80mm (3.1") |
| Focal Length | 900mm (35.43") |
| Focal Ratio | f/11 |
| Focal Length of Eyepiece 1 | 25mm (0.98") |
| Magnification of Eyepiece 1 | 36x |
| Focal Length of Eyepiece 2 | 10mm (0.39") |
| Magnification of Eyepiece 2 | 90x |
| Barlow Lens | 2x (1.25") |
| Finderscope | StarPointer™ red dot finderscope |
| Star Diagonal | Erect image 90° (1.25") |
| Optical Tube | Aluminum |
| Highest Useful Magnification | 189x |
| Lowest Useful Magnification | 11x |
| Limiting Stellar Magnitude | 12 |
| Resolution (Rayleigh) | 1.74 arc seconds |
| Resolution (Dawes) | 1.45 arc seconds |
| Light Gathering Power (Compared to human eye) | 131x |
| Optical Coatings | Fully-Coated glass optics |
| Optical Tube Length | 965mm (38") |
| Optical Tube Diameter | 90mm (3.54") |
| Optical Tube Weight | 5.4 lbs (2.45 kg) |
| Dovetail | None |
| MOUNT INFO: |  |
| Mount Type | Manual Alt-Azimuth |
| Height adjustment range (includes mount and tripod) | Aluminum, 1320.8mm (52") max height |
| Tripod Leg Diameter | 31.75mm (1.25") steel |
| Accessory Tray | Yes |
| Tripod Weight | 3.8 lbs (1.72 kg) |
| Slew Speeds | Manual |
| GPS | Uses phone's GPS |
| Dovetail Compatibility | CG-5 Dovetail bar |
| Power Requirements | None (Recommend PowerTank Glow to keep phone charged while using app) |
| Alignment Procedures | Use StarSense Explorer app |
| Software | StarSense Explorer app ¦ SkyPortal app ¦ Celestron Starry Night Basic Edition Software |
| Total Kit Weight | 9.2 lbs (4.17 kg) |
| Included Items | Telescope tube ¦ Mount/tripod (preassembled) ¦ 25mm & 10mm eyepieces ¦ Erect image diagonal ¦ 2x Barlow lens ¦ StarPointer&trade finderscope ¦ Accessory tray ¦ StarSense Explorer phone dock |