# ExoCleanUp FAST

### Cat. No.: 76620-568 (100 Reactions)

| Cat. No. | Size Reactions | ExoCleanUp FAST One-step PCR clean-up |
| --- | --- | --- |
| ID No. Cap colour | - | 7200100 Green |
| 76620-568 | 100 | 1 x 0.2 ml |
| 76620-570 | 500 | 1 x 1 ml |
| 76620-572 | 5000 | 10 x 1 ml |

Store at –20 (C

Composition of ExoCleanUp FAST

Balanced mixture of a heat labile Exonuclease I (HL-ExoI) and a recombinant Shrimp Alkaline Phosphatase (rSAP).

General Description

ExoCleanUp FAST consists of a heat labile Exonuclease I (HL-ExoI) and a recombinant Shrimp Alkaline Phosphatase (rSAP). Treatment of PCR products with ExoCleanUp FAST, removes residual primers and dNTPs. Add ExoCleanUp FAST directly to the reaction containing the amplified PCR product. After treatment at 37 °C for minimum 2 minutes, ExoCleanUp FAST is completely inactivated by heating at 80 °C for minimum 3 minutes.

Features

One-step PCR product clean-up with fast 5 min protocol.

No need for spin columns or magnetic beads.

Treatment optimizes downstream applications such as DNA sequencing or SNP analysis.

Protocol

This protocol serves as a guideline for clean-up of 5 μl PCR product using ExoCleanUp FAST*.

- Take out ExoCleanUp FAST from the -20 °C freezer.

- Keep ExoCleanUp FAST on ice at all times.

- Add 2 μl ExoCleanUp FAST** to 5 μl of amplified PCR product.

- Mix well and spin down.

- Incubate the reaction at 37 °C for 2-5 minutes to degrade remaining primers and to inactivate excess nucleotides by dephosphorylation.

- Incubate at 80 °C for 3-10 minutes to completely inactivate ExoCleanUp FAST.

- The cleaned up PCR product can now be used for downstream applications such DNA sequencing, primer extension experiments or SNP analysis.

- After treatment the PCR products can be stored at -20 °C

*If treating PCR product of higher volume, then increase proportionally the amount of ExoCleanUp FAST. ** ExoCleanUp FAST works in PCR buffers.

Recommended Storage and Stability

Long term storage at -20 °C. Product expiry at -20 °C is stated on the label.

Quality control

ExoCleanUp FAST is functionally tested by spiking a PCR product with dNTPs and primers followed by Sanger sequencing.

HL-ExoI and rSAP are tested individually for double stranded and single stranded endonuclease activity.

For Research Use Only. Not for use in diagnostics procedures.