GC TEMPase 2x Master Mix I

Cat. No.: 76620-524 (500 Reactions)

| Cat. No. | Size Reactions | GC TEMPase 2x Master Mix I, 1.5 mM MgCl2 |
| --- | --- | --- |
| ID No. Cap colour | - | 5300400 Yellow |
| 76620-524 | 500 | 10 x 1.25 ml |
| 76620-526 | 2500 | 50 x 1.25 ml |

Key Features

- For amplification of DNA targets with high GC content

- Convenient reaction set-up at room temperature

- High specificity, sensitivity and product yield

- Detection of low abundance targets

- Diminished formation of non-specific product

GC TEMPase 2x Master Mix I is an all-in-one 2x master mix containing TEMPase Hot Start DNA polymerase, GC Buffer I, enhancer, dNTPs and MgCl2. Simply mix GC TEMPase 2x Master Mix I with primers, template and water and you are ready to carry out successful primer extensions.

TEMPase Hot Start DNA Polymerase is a modified form of VWR Taq DNA polymerase, which is activated by heat treatment. A chemical moiety is attached to the enzyme at the active site, which renders the enzyme inactive at room temperature. Thus, during setup and the first ramp of thermal cycling, the enzyme is not active and misprimed primers are not extended. The result is higher specificity, increased sensitivity and greater yields when compared to standard DNA polymerases.

Composition of GC TEMPase 2x Master Mix I

- TEMPase Hot Start DNA Polymerase

- Optimized buffer components, 3.0 mM MgCl2

- dNTPs

- Enhancer

Recommended Storage and Stability

Long term storage at -20 °C. Product expiry at -20 °C is stated on the label.

Option: Store at +4 °C for up to 6 months.

Quality Control

TEMPase Hot Start DNA Polymerase is tested for contaminating activities with no traces of endonuclease activity, nicking activity or exonuclease activity.

Protocol

This protocol serves as a guideline for primer extensions. Optimal reaction conditions such as incubation times, temperatures and amount of template DNA may vary and must be determined individually.

Notes:

- Set up reaction mixtures in an area separate from that used for DNA preparation or product analysis. Working on ice is not required.

- The final MgCl2 concentration of this Master Mix is 1.5 mM. In some applications, more than 1.5 mM MgCl2 is required for best results. Use 25 mM MgCl2 (see Related Products) to adjust the Mg2+ concentration according to table 1.

Table 1.  Additional volume (µl) of MgCl2 per 50 µl reaction

| Final MgCl2 conc. in reaction (mM) | 1.5 | 2.0 | 2.5 | 3.0 | 3.5 | 4.0 | 4.5 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Volume of 25 mM MgCl2 | 0 | 1 | 2 | 3 | 4 | 5 | 6 |

- Thaw the Master Mix and primer solutions. It is important to thaw the solutions completely and mix thoroughly before use to avoid localized concentrations of salts.

Important: Spin vials briefly before use.

- Prepare the reaction mix. Table 2 shows the reaction set up for a final volume of 50 (l. If desired, the reaction size may be scaled down.

Table 2.  Reaction mix and template DNA

| Component | Vol./reaction* | Final concentration* |
| --- | --- | --- |
| 2x Master Mix | 25 µl | 1x |
| 25 mM MgCl2 | 0 µl (0 – 7 µl) | 1.5 mM (0.5 – 5 mM) |
| Primer A (10 µM) | 1 µl (0.5 – 5 µl) | 0.2 µM (0.1 – 1.0 µM) |
| Primer B (10 µM) | 1 µl (0.5 – 5 µl) | 0.2 µM (0.1 – 1.0 µM) |
| PCR-grade H2O | X µl | - |
| Template DNA | X µl | genomic DNA: 50 ng (10 – 500 ng) plasmid DNA: 0.5 ng (0.1 – 1 ng) bacterial DNA: 5 ng (1 – 10 ng) |
| TOTAL volume | 50 µl | - |

* Suggested starting conditions; theoretically used conditions in brackets

- Mix the reaction mix thoroughly and dispense appropriate volumes into reaction tubes.

- Add template DNA to the individual tubes containing the reaction mix.

- Program the thermal cycler according to the manufacturer’s instructions.

Each program must start with an initial heat activation step at 95°C for 15 minutes. See table 3 for an example.

For maximum yield and specificity, temperatures and cycling times should be optimized for each new template target or primer pair.

- Place the tubes in the thermal cycler and start the reaction.

Table 3. Three-step PCR program

| Cycles | Duration of cycle | Temperature |
| --- | --- | --- |
| 1 | 15 minutesa | 95 °C |
| 25 – 35 | 30 secondsb 40 – 60 secondsc 40 – 60 secondsd | 95 °C 50 – 65 °C 72 °C |
| 1 | 5 minutese | 72 °C |

- For activation of the TEMPase hot start enzyme.

- Denaturation step: This step is the first regular cycling event and consists of heating the reaction to 95 °C for 20 – 30 seconds. It causes melting of the DNA template by disrupting the hydrogen bonds between complementary bases, yielding single-stranded DNA molecules.

- Annealing step: The reaction temperature is lowered to 50 – 65 °C for 20 – 40 seconds allowing annealing of the primers to the single-stranded DNA template. Typically, the annealing temperature is about 3 – 5 °C below the Tm (melting temperature) of the primers used.

- Extension/elongation step: TEMPase polymerase has its optimum activity temperature at 72 °C. At this step the DNA polymerase synthesizes a new DNA strand complementary to the DNA template strand. The extension time depends on the length of the DNA fragment to be amplified. As a rule of thumb, at its optimum temperature the DNA polymerase will polymerize a thousand bases per minute.

- Final elongation: This single step is occasionally performed at a temperature of 72 °C for 5 minutes after the last PCR cycle to ensure that any remaining single‐stranded DNA is fully extended.

Tween( 20 is a registered trademark of ICI Americas, Inc.

For Research Use Only. Not for use in diagnostics procedures.