Fast HiFi DNA Polymerase 
2X Master Mix

Cat. No.: 76620-586 (2500 Reactions)

| Cat. No. | Size Reactions | Fast HiFi DNA Polymerase 2X Master Mix |
| --- | --- | --- |
| ID No. Cap colour | - | 5500450 Blue |
| 76620-582 | 100 | 2 x 1.25 ml |
| 76620-584 | 500 | 10 x 1.25 ml |
| 76620-586 | 2500 | 50 x 1.25 ml |
| 76620-588 | 5000 | 25 x 5 ml |

Store at -20 °C.

General Description

Fast HiFi DNA Polymerase 2X Master Mix is an all-in-one 2x master mix containing Fast HiFi DNA Polymerase, Fast HiFi Buffer, dNTPs and MgCl2.

Fast HiFi DNA Polymerase is a chimeric DNA Polymerase created specifically for low-bias, high fidelity amplification of a vast range of amplicons. Fast HiFi DNA Polymerase delivers high-speed elongation and processivity, due to its fusion with a DNA-binding domain. Fast HiFi DNA Polymerase exhibits 5’(3’ DNA polymerase activity and 3’(5’ proofreading exonuclease activity.

- High fidelity: > 60x Taq1)

- Long-range amplification: 11 kb human gDNA

- High elongation rate: 10 sec/kb

- Excellent performance on a vast range of amplicons (high AT and high GC)

- Recommended for cloning, mutagenesis and other molecular applications requiring extremely high fidelity

1) Determined through a novel NGS-based analysis of nucleotide misincorporation during PCR

Protocol

Reaction conditions such as incubation times, temperatures, and amount of template DNA may vary and must be determined individually. Amplification of templates with high GC content, extensive secondary structures as well as long-range amplification may require more optimization. For tips see section Strategies for Optimization.

Set up reaction mixtures in an area separate from that used for DNA preparation or product analysis. Work on ice at all times.

- Thaw Fast HiFi DNA Polymerase 2X Master Mix and primer solutions. It is recommended to completely thaw and thoroughly mix the master mix to ensure proper resuspension of precipitates.

- Prepare a reaction mix according to Table 1. The master mix typically contains all the components needed for extension. The final volume is 50 µl. If desired the reaction size may be scaled down.

- Mix the reaction mix thoroughly and dispense appropriate volumes into reaction tubes. Mix gently, e.g. by pipetting the reaction mix up and down a few times.

- Program the thermal cycler according to Table. 2

- Place the tubes in the thermal cycler and start the reaction.

Table 1. Reaction components

| Component | Vol./reaction* | Final concentration* |
| --- | --- | --- |
| 2X Master Mix | 25 µl | 1x |
| Primer A (10 µM) | 1 µl | 0.2 µM |
| Primer B (10 µM) | 1 µl | 0.2 µM |
| 25 mM MgCl2 | 0 µl (0 – 6 µl) | 1.5 mM (1.5 – 4.5 mM) |
| Betaine (5M)** | 10 - 20 µl | 1 – 2M |
| PCR-grade H2O | X µl | - |
| Template DNA | X µl | genomic DNA:50 ng (10 – 500 ng) plasmid DNA: 0.5 ng (0.1 – 1 ng) bacterial DNA: 5 ng (1 – 10 ng) |
| TOTAL volume | 50µl | - |

* Suggested starting conditions; theoretically used conditions in brackets

** Suggested for GC-rich and long-range amplification. See section Strategies for Optimization

Table 2. Three-step PCR program

| Cycles | Duration of cycle | Temperature |
| --- | --- | --- |
| 1 | 2 minutesa | 98 °C |
| 25 - 35 | 10 – 20 secondsa 15 – 30 secondsb 10 – 60 secondsc | 98 °C 55 – 70 °C 72 °C |
| 1 | 5 minutes | 72 °C |

- Denaturation: 2 min initial denaturation is sufficient for most templates. During thermocycling, 10 seconds usually works very well. Longer denaturation times might be required for long range PCR or amplification from templates with a high GC content.

- Primer annealing: Typically, the annealing temperature is about 3 – 5 °C below the Tm (melting temperature) of the primers used. Because of the high salt content within the Fast HiFi DNA Polymerase 2x Master Mix annealing temperature will likely be higher than with more traditional PCR master mixes.

- Extension: The recommended extension temperature is 72°C. Extension times highly depends on the length of the amplicon. Generally, we recommend an extension time of 10-30 seconds per kb for complex genomic targets. 10 seconds per kb is often sufficient for simpler targets (such as plasmid) or short complex targets (< 3 kb). 30-60 seconds per kb is recommended for long amplicons (> 3 kb).

Strategies for Optimization

Long-range amplification

- Longer extension times often resolve low-yield amplification of long amplicons.

- The addition of 1-2 M Betaine solution often improves reaction performance.

- Increased template concentration will increase product yield.

- Increased primer concentration can increase product yield for some reactions.

GC-rich amplification

- The addition of 1 - 2 M Betaine solution often improves reaction performance (See Additional Products for ordering information).

Primers

- Primers of 20 – 40 nucleotides with a GC content of 40 - 60 % are recommended. The online Software Primer3plus can be used for the design of primers.

https://primer3plus.com/cgi-bin/dev/primer3plus.cgi

MgCl2

- The optimal MgCl2 concentration should be determined empirically but in most cases a concentration of 1.5 mM, as provided in the Fast HiFi DNA Polymerase Master Mix, will produce satisfactory results. Table 3 provides the volume of 25 mM MgCl2 to be added to the master mix if a higher MgCl2 concentration is required.

Table 3.  MgCl2 concentration in a 50 (l reaction

| Final MgCl2 conc. in reaction (mM) | 1.5 | 2.0 | 2.5 | 3.0 | 3.5 | 4.0 | 4.5 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Additional volume of 25 mM MgCl2 per reaction (µl): | 0 | 1 | 2 | 3 | 4 | 5 | 6 |

Content

Fast HiFi DNA Polymerase 2X Master Mix

Fast HiFi DNA Polymerase, optimized buffer components, 1.5 mM MgCl2 final concentration and dNTPs

5 M Betaine Enhancer Solution

Sold separately. Cat. No.: 733-1361

Important info

Recommended Storage and Stability

Long term storage at -20 °C. Product expiry at -20 °C is stated on the label.

Optional: Store at +4 °C for up to 6 months.

Quality Control

Fast HiFi DNA Polymerase is tested for contaminating activities with no traces of endonuclease activity or nicking activity. Furthermore, long range capacity is tested on a human gDNA target of 6 kb.

For Research Use Only. Not for use in diagnostics procedures.