# VWR Taq Plus DNA Polymerase 
Master Mix

2x Master Mix Kit (1.5 mM MgCl2)

Cat. No.: 76620-536 (500 Reactions)

| Cat. No. | No. of 50 µl Reactions | Taq Plus DNA Polymerase 2x Master Mix |
| --- | --- | --- |
| ID No. Cap colour | - | 5200800 Green |
| 76620-534 | 100 | 2 x 1.25 ml |
| 76620-536 | 500 | 10 x 1.25 ml |
| 76620-538 | 2500 | 50 x 1.25 ml |
| 76620-540 | 5000 | 25 x 5 ml |

Store at -20 °C.

General Description

VWR Taq Plus DNA Polymerase Master Mix is a ready-to-use 2x reaction mix. Simply add primers, template, and water to successfully carry out primer extensions and other molecular biology applications.

VWR Taq Plus DNA Polymerase, the NH4+ buffer system, dNTPs and magnesium chloride are present in VWR Taq Plus DNA Polymerase Master Mix. Each reaction requires 25 µl of the 2x Taq Plus reaction mix. Simply add primers, template and water to a total reaction volume of 50 µl.

VWR Taq Plus DNA Polymerase Master Mix offers several advantages. Set up time is significantly reduced. The chance of contaminating component stocks is eliminated. Reduction of reagent handling steps leads to better reproducibility. Standard tests can be set up with the confidence that results will be consistent every time.

VWR Taq Plus DNA Polymerase Master Mix is optimized for improved specificity of DNA targets up to 4 kb.

Composition of VWR Taq Plus 2x Master Mix

- Tris-HCl pH 8.5, (NH4)2S04, 3.0 mM MgCl2, 0.2 % Tween( 20

- 0.4 mM of each dNTP

- VWR Taq polymerase

## Quality Control

Each lot of VWR Taq DNA Polymerase is tested for contaminating activities with no traces of endonuclease activity, nicking activity or exonuclease activity.

### Protocol

This protocol serves as a guideline for PCR. Optimal reaction conditions such as incubation times, temperatures, and amount of template DNA may vary and must be determined individually.

Notes:

- Set up reaction mixtures in an area separate from that used for DNA preparation or product analysis.

- Table 1 shows the reaction set up for a final volume of 50 µl.

- Thaw 2x Taq Plus Master Mix and primers. It is important to thaw the solutions completely and mix thoroughly before use to avoid localized concentrations of salts. Keep all components on ice.

Important: Spin VWR Taq Plus Master Mix vials briefly before use.

- Set up each reaction as shown in table 1.

Table 1.  Reaction components: Master mix and template DNA

| Component | Vol./reaction* | Final concentration* |
| --- | --- | --- |
| Taq Plus 2x Master Mix | 25 µl | 1x |
| 25 mM MgCl2** | 0 µl (0 – 6 µl) | 1.5 mM (1.5 – 4.5 mM) |
| Primer A (10 µM) | 1 µl (0.5 – 5 µl) | 0.2 µM (0.1 – 1.0 µM) |
| Primer B (10 µM) | 1 µl (0.5 – 5 µl) | 0.2 µM (0.1 – 1.0 µM) |
| PCR-grade H2O | X µl | - |
| Template DNA | X µl | genomic DNA: 50 ng (10 – 500 ng) plasmid DNA: 0.5 ng (0.1 – 1 ng) bacterial DNA: 5 ng (1 – 10 ng) |
| TOTAL volume | 50 µl | - |

* Suggested starting conditions; theoretically used conditions in brackets

** Not included in the kit

- Mix gently by pipetting the solution up and down a few times.

- Program the thermal cycler according to the manufacturer´s instructions and recommendations in table 2. (DNA targets < 1kb) or table 3. (DNA targets 1 – 4 kb)

For maximum yield and specificity, temperatures and cycling times should be optimized for each new target template or primer pair.

- Place the tubes in the thermal cycler and start the reaction.

Table 2. Three-step PCR Program for targets < 1 kb

| Cycles | Duration of cycle | Temperature |
| --- | --- | --- |
| 1 | 2 - 5 minutesa | 95 °C |
| 25 – 35 | 20 – 30 secondsb 20 – 40 secondsc 30 secondsd | 95 °C 50 – 65 °C 72 °C |
| 1 | 5 minutese | 72 °C |

Table 3.  Three-step PCR Program for targets 1 kb – 4kb

| Cycles | Duration of cycle | Temperature |
| --- | --- | --- |
| 1 | 2 -5 minutesa | 95 °C |
| 25 – 35 | 20 – 30 secondsb 20 – 40 secondsc 60 – 300 secondsd | 95 °C 50 – 65 °C 72 °C |
| 1 | 5 minutese | 72 °C |

- Initial denaturation step (optional).

- Denaturation step: This step is the first regular cycling event and consists of heating the reaction to 95 °C for 20 – 30 seconds. It causes melting of the DNA template by disrupting the hydrogen bonds between complementary bases, yielding single-stranded DNA molecules.

- Annealing step: The reaction temperature is lowered to 50 – 65 °C for 20 – 40 seconds allowing annealing of the primers to the single-stranded DNA template. Typically, the annealing temperature is about 3 – 5 °C below the Tm of the primers used.

- Extension/elongation step: Taq polymerase has its optimal activity at 72 °C. At this step the DNA polymerase synthesizes a new DNA strand complementary to the DNA template strand. The extension time depends on the length of the DNA fragment to be amplified. As a rule of thumb, at its optimum temperature the DNA polymerase will polymerize a thousand bases per minute.

- Final elongation: This single step is occasionally performed at a temperature of 72 °C for 5 minutes after the last PCR cycle to ensure that any remaining single-stranded DNA is fully extended.

Tween( 20 is a registered trademark of ICI Americas, Inc.

For Research Use Only. Not for use in diagnostics procedures.